## BIOMONITORING BF
| TABLE CALCULATION OF SURFACES TOTAL FLORA BY ATP-METRY (in pgATP/cm² or eq.bact./cm²) | [5 empty] | Information |  | Luminometer KIKKOMAN SMART
Facility
Installation ID
Sampling point
[7 empty] | Monitoring period | 2023
| BIOMONITORING | [5 empty] | Warning threshold (in pg/cm²) | 0.5
[7 empty] | Alarm threshold (in pg/cm²) | 1
Sampling date | Surface sampled | R1 value | R2 value | Measurement result |  |  | Comment and suggested corrections. For further information, consult the TROUBLESHOOTING sheet. |  | User comment
|  |  |  | ATP quantity | Total flora
| (in cm²) | (in RLU) | (in RLU) | (in pgATP/cm²) | (in eq.bact./cm²) | (in LOG)
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1

## CARTOGRAPHY BF
| TABLE CALCULATION OF SURFACES TOTAL FLORA BY ATP-METRY (in pgATP/cm² or eq.bact./cm²) | [5 empty] | Information |  | Luminometer KIKKOMAN SMART
Facility
Installation ID
Sampling point
[7 empty] | Monitoring period | 2023
| CARTOGRAPHY | [5 empty] | Warning threshold (in pg/cm²) | 0.5
[7 empty] | Alarm threshold (in pg/cm²) | 1
Sampling point | Surface sampled | R1 value | R2 value | Measurement result |  |  | Comment and suggested corrections. For further information, consult the TROUBLESHOOTING sheet. |  | User comment
|  |  |  | ATP quantity | Total flora
| (in cm²) | (in RLU) | (in RLU) | (in pgATP/cm²) | (in eq.bact./cm²) | (in LOG)
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1
[10 empty] | 0.5 | 1

## TROUBLESHOOTING
TROUBLESHOOTING
Message displayed | Possible cause | Suggested correction
Low sensitivity. If necessary, sample a larger surface. Cf. handbook page 13. | The enzyme contained in the lumitube is not sufficiently active (out-of-date or degraded) or the EXTRACTANT is too cold. | Warm up the reagent to a temperature above 18°C and sample a larger surface. If the problem remains, perform a Control of the reagent efficiency (cf. page 14).
Control the mixing of the STANDARD, the temperature and condition of the reagents. Cf. handbook page 13. | Standardization was not successful. | Tap the bottom of the test tube on a flat surface and homogenize the mix by turning the swab in the test tube. Restart the measurement.
| The enzyme contained in the lumitube is not sufficiently active (out-of-date or degraded) or the EXTRACTANT is too cold. | Warm up the reagent to a temperature above 18°C and sample a larger surface. If the problem remains, perform a Control of the reagent efficiency (cf. page 14).
Sample highly contaminated. If necessary, sample a smaller surface. Cf. handbook page 13. | The ATP concentration of the sample is too high. | Restart the analysis by sampling a smaller surface.
Contact
Yannick FOURNIER | Clement FAYE
Sales engineer | Research engineer
5, avenue de l'Europe - Hélioparc | 5, avenue de l'Europe - Hélioparc
34 830 Clapiers (FRANCE) | 34 830 Clapiers (FRANCE)
+33 9 67 39 35 20 | +33 9 67 39 35 20
+33 6 33 64 42 29 | +33 6 72 70 46 98
y.fournier@gl-biocontrol.com | c.faye@gl-biocontrol.com